## Slide 1: Using Statistical Process Control Charts to Monitor EQA Lab Performance
Moses Matovu
Nov 9, 2017
HuQAS Conference 2017
KICD-Nairobi, Kenya

## Slide 2: Presentation Outline
Introduction
Methods
Results
Conclusions
Acknowledgments

## Slide 3: Introduction
Kabale Regional Referral Hospital Lab is being fast tracked to international accreditation by 2018.
Evaluation of EQA performance is a requirement for ISO 15189:2012 (Clause 5.6.3.4)

## Slide 4: Problem Statement
Review of EQA performance is a challenge.
Continual Improvement for EQA performance is lacking

## Slide 6: Justification
SPC Charts reveal trends in analytical results that give early warnings of issues or problems that could be developing.
The aim of the study was to apply SPC techniques to monitor EQA performance for UK-NEQAS CD4.

## Slide 7: Methods
Reviewed UK-NEQAS CD4 Results: (2015-2016)
Determined Control limits
EWMA charts
Shewhart control charts
Constructed Charts
Monitored performance

## Slide 8: Methods
Chart: Shewhart Control Chart CD4
CL | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775
3UCL | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689
3LCL | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139
2UCL | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385
2LCL | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835
Chart: EWMA Chart CD4
CL | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28
3UCL | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063
3LCL | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513
2UCL | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634
2LCL | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084

## Slide 9: Results
Chart: Shewhart CD4
CL | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775
3UCL | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689
3LCL | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139
CD4 | 0.16 | -0.2 | 0.18 | -0.08 | 0.46 | -0.22 | 2.49 | 0.82 | 1.69 | 0.5 | 0.47 | 2.93 | -0.41 | -0.05 | -3.15 | -3.64 | 0.85 | 0.72 | 1.37 | 0.66
2UCL | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385
2LCL | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835

## Slide 10: Results
Chart: Exponentially Weighted Moving Averages Chart CD4
CL | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28
3UCL | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063
3LCL | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513
EWMa Values CD4 | 0.24225 | 0.10957 | 0.1307 | 0.067492 | 0.18524 | 0.063671 | 0.79157 | 0.8001 | 1.0671 | 0.89695 | 0.76886 | 1.4172 | 0.86904 | 0.59333 | -0.52967 | -1.4628 | -0.76894 | -0.32226 | 0.18542 | 0.32779
2UCL | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634
2LCL | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084

## Slide 11: Results
Chart: EWMA CD4
CL | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28
3UCL | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063 | 2.2063
3LCL | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513 | -1.6513
EWMa Values CD4 | 0.24225 | 0.10957 | 0.1307 | 0.067492 | 0.18524 | 0.063671 | 0.79157 | 0.8001 | 1.0671 | 0.89695 | 0.76886 | 1.4172 | 0.86904 | 0.59333 | -0.52967 | -1.4628 | -0.76894 | -0.32226 | 0.18542 | 0.32779
2UCL | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634 | 1.5634
2LCL | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084 | -1.0084
Chart: Shewhart CD4
CL | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775 | 0.2775
3UCL | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689 | 4.8689
3LCL | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139 | -4.3139
CD4 | 0.16 | -0.2 | 0.18 | -0.08 | 0.46 | -0.22 | 2.49 | 0.82 | 1.69 | 0.5 | 0.47 | 2.93 | -0.41 | -0.05 | -3.15 | -3.64 | 0.85 | 0.72 | 1.37 | 0.66
2UCL | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385 | 3.3385
2LCL | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835 | -2.7835

## Slide 12: Conclusion and Recommendation
The ability to detect EQA performance variations was improved by using a combination of charts
SPC is a feasible and promising way of monitoring and improving EQA Performance outcomes and should be adopted

## Slide 13: Acknowledgments
Participants